- 备份日志表

CREATE TABLE `备份日志` (   `备份ID` varchar(30) NOT NULL,   `备份时间` datetime NOT NULL,   `备份文件` varchar(255) NOT NULL,   `备份类型` varchar(20) NOT NULL,   `操作人员` varchar(20) DEFAULT NULL,   `备份大小` decimal(10,2) DEFAULT NULL,   `完成状态` varchar(20) DEFAULT '成功',   `备注` text,   `创建时间` datetime DEFAULT CURRENT_TIMESTAMP,   PRIMARY KEY (`备份ID`),   KEY `操作人员` (`操作人员`),   CONSTRAINT `备份日志_ibfk_1` FOREIGN KEY (`操作人员`) REFERENCES `用户` (`用户ID`) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 变压器监测数据表

CREATE TABLE `变压器监测数据` (   `变压器监测数据编号` varchar(30) NOT NULL,   `采集时间` datetime NOT NULL,   `负载率` decimal(5,2) DEFAULT NULL,   `绕组温度` decimal(8,2) DEFAULT NULL,   `铁芯温度` decimal(8,2) DEFAULT NULL,   `环境温度` decimal(6,2) DEFAULT NULL,   `环境湿度` decimal(5,2) DEFAULT NULL,   `运行状态` varchar(20) DEFAULT NULL,   `配电房编号` varchar(20) DEFAULT NULL,   `变压器编号` varchar(30) DEFAULT NULL,   PRIMARY KEY (`变压器监测数据编号`),   KEY `变压器编号` (`变压器编号`),   KEY `idx_t_cover` (`配电房编号`,`变压器编号`,`负载率`,`绕组温度`),   CONSTRAINT `变压器监测数据_ibfk_1` FOREIGN KEY (`配电房编号`) REFERENCES `配电房` (`配电房编号`),   CONSTRAINT `变压器监测数据_ibfk_2` FOREIGN KEY (`变压器编号`) REFERENCES `设备` (`设备编号`),   CONSTRAINT `变压器监测数据_chk_1` CHECK ((`负载率` between 0 and 100)),   CONSTRAINT `变压器监测数据_chk_2` CHECK ((`绕组温度` between -(50) and 200)),   CONSTRAINT `变压器监测数据_chk_3` CHECK ((`铁芯温度` between -(50) and 200)),   CONSTRAINT `变压器监测数据_chk_4` CHECK ((`环境温度` between -(30) and 80)),   CONSTRAINT `变压器监测数据_chk_5` CHECK ((`环境湿度` between 0 and 100)),   CONSTRAINT `变压器监测数据_chk_6` CHECK ((`运行状态` in (_utf8mb4'正常',_utf8mb4'异常'))) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 并网点表

CREATE TABLE `并网点` (   `并网点编号` varchar(20) NOT NULL,   `并网点名称` varchar(100) CHARACTER SET utf8mb3 COLLATE utf8mb3_general_ci NOT NULL,   `电压等级` varchar(20) DEFAULT NULL,   `接入容量` decimal(10,2) DEFAULT NULL,   `并网时间` date DEFAULT NULL,   `所属厂区编号` varchar(20) DEFAULT NULL,   `地理位置` text,   PRIMARY KEY (`并网点编号`),   KEY `所属厂区编号` (`所属厂区编号`),   CONSTRAINT `并网点_ibfk_1` FOREIGN KEY (`所属厂区编号`) REFERENCES `厂区` (`厂区编号`),   CONSTRAINT `并网点_chk_1` CHECK ((`接入容量` > 0)) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 操作日志表

CREATE TABLE `操作日志` (   `日志ID` varchar(30) NOT NULL,   `操作类型` varchar(50) NOT NULL,   `操作人员` varchar(20) DEFAULT NULL,   `操作时间` datetime NOT NULL,   `操作内容` text,   `操作结果` varchar(20) DEFAULT NULL,   `操作IP` varchar(45) DEFAULT NULL,   `用户代理` text,   `创建时间` datetime DEFAULT CURRENT_TIMESTAMP,   PRIMARY KEY (`日志ID`),   KEY `操作人员` (`操作人员`),   CONSTRAINT `操作日志_ibfk_1` FOREIGN KEY (`操作人员`) REFERENCES `用户` (`用户ID`) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 厂区表

CREATE TABLE `厂区` (   `厂区编号` varchar(20) NOT NULL,   `厂区名称` varchar(100) CHARACTER SET utf8mb3 COLLATE utf8mb3_general_ci NOT NULL,   `位置描述` text,   PRIMARY KEY (`厂区编号`),   UNIQUE KEY `厂区名称` (`厂区名称`) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 大屏展示配置表

CREATE TABLE `大屏展示配置` (   `配置编号` varchar(30) NOT NULL,   `展示模块` varchar(50) DEFAULT NULL,   `数据刷新频率` varchar(20) DEFAULT NULL,   `展示字段` text,   `排序规则` varchar(50) DEFAULT NULL,   `权限等级` varchar(20) DEFAULT NULL,   PRIMARY KEY (`配置编号`),   CONSTRAINT `ck1` CHECK ((`权限等级` in (_utf8mb4'管理员',_utf8mb4'能源管理员',_utf8mb4'运维人员',_utf8mb4'企业管理层'))),   CONSTRAINT `大屏展示配置_chk_2` CHECK ((`权限等级` in (_utf8mb4'管理员',_utf8mb4'能源管理员',_utf8mb4'运维人员',_utf8mb4'企业管理层'))) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 登录日志表

CREATE TABLE `登录日志` (   `日志ID` varchar(30) NOT NULL,   `用户ID` varchar(20) NOT NULL,   `登录时间` datetime NOT NULL,   `登录IP` varchar(45) DEFAULT NULL,   `登录状态` varchar(20) NOT NULL,   `操作类型` varchar(20) DEFAULT NULL,   `失败原因` text,   `用户代理` text,   `创建时间` datetime DEFAULT CURRENT_TIMESTAMP,   PRIMARY KEY (`日志ID`),   KEY `用户ID` (`用户ID`),   CONSTRAINT `登录日志_ibfk_1` FOREIGN KEY (`用户ID`) REFERENCES `用户` (`用户ID`) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 峰谷能耗数据表

CREATE TABLE `峰谷能耗数据` (   `记录编号` varchar(30) NOT NULL,   `能源类型` varchar(20) DEFAULT NULL,   `厂区编号` varchar(20) DEFAULT NULL,   `统计日期` date DEFAULT NULL,   `尖峰时段能耗` decimal(15,4) DEFAULT NULL,   `高峰时段能耗` decimal(15,4) DEFAULT NULL,   `平段能耗` decimal(15,4) DEFAULT NULL,   `低谷时段能耗` decimal(15,4) DEFAULT NULL,   `总能耗` decimal(15,4) DEFAULT NULL,   `峰谷电价` decimal(10,4) DEFAULT NULL,   `能耗成本` decimal(15,2) DEFAULT NULL,   PRIMARY KEY (`记录编号`),   KEY `厂区编号` (`厂区编号`),   CONSTRAINT `峰谷能耗数据_ibfk_1` FOREIGN KEY (`厂区编号`) REFERENCES `厂区` (`厂区编号`),   CONSTRAINT `峰谷能耗数据_chk_1` CHECK ((`能源类型` in (_utf8mb4'电',_utf8mb4'水',_utf8mb4'蒸汽',_utf8mb4'天然气'))),   CONSTRAINT `峰谷能耗数据_chk_2` CHECK ((`尖峰时段能耗` >= 0)),   CONSTRAINT `峰谷能耗数据_chk_3` CHECK ((`高峰时段能耗` >= 0)),   CONSTRAINT `峰谷能耗数据_chk_4` CHECK ((`平段能耗` >= 0)),   CONSTRAINT `峰谷能耗数据_chk_5` CHECK ((`低谷时段能耗` >= 0)),   CONSTRAINT `峰谷能耗数据_chk_6` CHECK ((`总能耗` >= 0)),   CONSTRAINT `峰谷能耗数据_chk_7` CHECK ((`峰谷电价` >= 0)),   CONSTRAINT `峰谷能耗数据_chk_8` CHECK ((`能耗成本` >= 0)) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 峰谷时段表

CREATE TABLE `峰谷时段` (   `时段ID` varchar(30) NOT NULL,   `能源类型` varchar(20) NOT NULL,   `时段类型` varchar(10) NOT NULL,   `开始时间` time NOT NULL,   `结束时间` time NOT NULL,   `生效日期` date DEFAULT (curdate()),   `失效日期` date DEFAULT NULL,   `创建时间` datetime DEFAULT CURRENT_TIMESTAMP,   `创建人员` varchar(20) DEFAULT NULL,   `备注` text,   PRIMARY KEY (`时段ID`),   KEY `创建人员` (`创建人员`),   CONSTRAINT `峰谷时段_ibfk_1` FOREIGN KEY (`创建人员`) REFERENCES `用户` (`用户ID`),   CONSTRAINT `峰谷时段_chk_1` CHECK ((`开始时间` < `结束时间`)) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 告警规则表

CREATE TABLE `告警规则` (   `规则ID` varchar(30) NOT NULL,   `规则名称` varchar(100) NOT NULL,   `设备类型` varchar(50) NOT NULL,   `告警参数` varchar(50) NOT NULL,   `告警条件` varchar(10) NOT NULL,   `告警阈值` decimal(12,4) NOT NULL,   `告警等级` varchar(10) DEFAULT NULL,   `启用状态` tinyint(1) DEFAULT '1',   `创建时间` datetime DEFAULT CURRENT_TIMESTAMP,   `更新时间` datetime DEFAULT NULL ON UPDATE CURRENT_TIMESTAMP,   `创建人员` varchar(20) DEFAULT NULL,   `备注` text,   PRIMARY KEY (`规则ID`),   KEY `创建人员` (`创建人员`),   CONSTRAINT `告警规则_ibfk_1` FOREIGN KEY (`创建人员`) REFERENCES `用户` (`用户ID`) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 告警信息表

CREATE TABLE `告警信息` (   `告警ID` varchar(30) NOT NULL,   `告警编号` varchar(30) DEFAULT NULL,   `告警类型` varchar(20) DEFAULT NULL,   `关联设备编号` varchar(30) DEFAULT NULL,   `发生时间` datetime NOT NULL,   `告警等级` varchar(10) DEFAULT NULL,   `告警内容` text NOT NULL,   `处理状态` varchar(20) DEFAULT NULL,   `告警触发阈值` decimal(12,4) DEFAULT NULL,   `告警确认人ID` varchar(20) DEFAULT NULL,   `确认时间` datetime DEFAULT NULL,   PRIMARY KEY (`告警ID`),   UNIQUE KEY `告警编号` (`告警编号`),   KEY `关联设备编号` (`关联设备编号`),   KEY `告警确认人ID` (`告警确认人ID`),   KEY `idx_a_level_device_alert` (`告警等级`,`关联设备编号`,`告警ID`),   CONSTRAINT `告警信息_ibfk_1` FOREIGN KEY (`关联设备编号`) REFERENCES `设备` (`设备编号`),   CONSTRAINT `告警信息_ibfk_2` FOREIGN KEY (`告警确认人ID`) REFERENCES `用户` (`用户ID`),   CONSTRAINT `告警信息_chk_1` CHECK ((`告警等级` in (_utf8mb4'高',_utf8mb4'中',_utf8mb4'低'))),   CONSTRAINT `告警信息_chk_2` CHECK ((`处理状态` in (_utf8mb4'处理中',_utf8mb4'已结案',_utf8mb4'待决策',_utf8mb4'待审核',_utf8mb4'未处理'))),   CONSTRAINT `告警信息_chk_3` CHECK ((`告警类型` in (_utf8mb4'越限告警',_utf8mb4'通讯故障',_utf8mb4'设备故障'))) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 工单提醒表

CREATE TABLE `工单提醒` (   `提醒ID` varchar(30) NOT NULL,   `工单ID` varchar(30) NOT NULL,   `告警ID` varchar(30) NOT NULL,   `运维人员ID` varchar(20) NOT NULL,   `提醒类型` varchar(20) DEFAULT NULL,   `提醒内容` text NOT NULL,   `派单时间` datetime NOT NULL,   `提醒时间` datetime NOT NULL,   `状态` varchar(20) DEFAULT '未提醒',   `创建时间` datetime DEFAULT CURRENT_TIMESTAMP,   `最后提醒时间` datetime DEFAULT NULL,   PRIMARY KEY (`提醒ID`),   KEY `告警ID` (`告警ID`),   KEY `idx_提醒时间` (`提醒时间`),   KEY `idx_运维人员状态` (`运维人员ID`,`状态`),   KEY `idx_工单提醒` (`工单ID`,`状态`),   CONSTRAINT `工单提醒_ibfk_1` FOREIGN KEY (`工单ID`) REFERENCES `运维工单` (`工单ID`),   CONSTRAINT `工单提醒_ibfk_2` FOREIGN KEY (`告警ID`) REFERENCES `告警信息` (`告警ID`),   CONSTRAINT `工单提醒_ibfk_3` FOREIGN KEY (`运维人员ID`) REFERENCES `用户` (`用户ID`),   CONSTRAINT `工单提醒_chk_1` CHECK ((`提醒类型` in (_utf8mb4'高等级紧急',_utf8mb4'中等级提醒',_utf8mb4'低等级提醒'))),   CONSTRAINT `工单提醒_chk_2` CHECK ((`状态` in (_utf8mb4'未提醒',_utf8mb4'已提醒',_utf8mb4'已处理'))) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 光伏发电数据表

CREATE TABLE `光伏发电数据` (   `数据编号` varchar(30) NOT NULL,   `设备编号` varchar(30) DEFAULT NULL,   `并网点编号` varchar(20) DEFAULT NULL,   `采集时间` datetime NOT NULL,   `发电量` decimal(10,2) DEFAULT NULL,   `上网电量` decimal(10,2) DEFAULT NULL,   `自用电量` decimal(10,2) DEFAULT NULL,   `逆变器效率` decimal(5,2) DEFAULT NULL,   `组串电压` decimal(8,2) DEFAULT NULL,   `组串电流` decimal(8,2) DEFAULT NULL,   `数据质量` varchar(10) DEFAULT NULL,   PRIMARY KEY (`数据编号`),   KEY `并网点编号` (`并网点编号`),   KEY `idx_pg_all` (`设备编号`,`并网点编号`,`采集时间`,`发电量`,`逆变器效率`),   CONSTRAINT `光伏发电数据_ibfk_1` FOREIGN KEY (`设备编号`) REFERENCES `光伏设备` (`设备编号`),   CONSTRAINT `光伏发电数据_ibfk_2` FOREIGN KEY (`并网点编号`) REFERENCES `并网点` (`并网点编号`),   CONSTRAINT `光伏发电数据_chk_1` CHECK ((`发电量` >= 0)),   CONSTRAINT `光伏发电数据_chk_2` CHECK ((`上网电量` >= 0)),   CONSTRAINT `光伏发电数据_chk_3` CHECK ((`自用电量` >= 0)),   CONSTRAINT `光伏发电数据_chk_4` CHECK ((`逆变器效率` between 0 and 100)),   CONSTRAINT `光伏发电数据_chk_5` CHECK (((`组串电压` >= 0) and (`组串电压` <= 1000))),   CONSTRAINT `光伏发电数据_chk_6` CHECK (((`组串电流` >= 0) and (`组串电流` <= 100))),   CONSTRAINT `光伏发电数据_chk_7` CHECK ((`数据质量` in (_utf8mb4'优',_utf8mb4'良',_utf8mb4'中',_utf8mb4'差'))) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 光伏设备表

CREATE TABLE `光伏设备` (   `设备编号` varchar(30) NOT NULL,   `设备类型` varchar(20) CHARACTER SET utf8mb3 COLLATE utf8mb3_general_ci NOT NULL,   `安装区域编号` varchar(20) DEFAULT NULL,   `接入并网点编号` varchar(20) DEFAULT NULL,   `装机容量` decimal(10,2) DEFAULT NULL,   `生产厂家` varchar(100) CHARACTER SET utf8mb3 COLLATE utf8mb3_general_ci DEFAULT NULL,   `设备型号` varchar(50) DEFAULT NULL,   `投运时间` date DEFAULT NULL,   `校准周期` int DEFAULT NULL,   `运行状态` varchar(20) CHARACTER SET utf8mb3 COLLATE utf8mb3_general_ci DEFAULT NULL,   `通信协议` varchar(50) CHARACTER SET utf8mb3 COLLATE utf8mb3_general_ci DEFAULT NULL,   PRIMARY KEY (`设备编号`),   KEY `安装区域编号` (`安装区域编号`),   KEY `接入并网点编号` (`接入并网点编号`),   KEY `idx_p_status_area` (`运行状态`,`安装区域编号`),   KEY `idx_pd_status_device` (`运行状态`,`设备编号`),   CONSTRAINT `光伏设备_ibfk_1` FOREIGN KEY (`设备编号`) REFERENCES `设备` (`设备编号`),   CONSTRAINT `光伏设备_ibfk_2` FOREIGN KEY (`安装区域编号`) REFERENCES `屋顶区域` (`区域编号`),   CONSTRAINT `光伏设备_ibfk_3` FOREIGN KEY (`接入并网点编号`) REFERENCES `并网点` (`并网点编号`),   CONSTRAINT `光伏设备_chk_1` CHECK ((`设备类型` in (_utf8mb3'逆变器',_utf8mb3'汇流箱'))),   CONSTRAINT `光伏设备_chk_2` CHECK ((`装机容量` > 0)),   CONSTRAINT `光伏设备_chk_3` CHECK ((`校准周期` between 1 and 24)),   CONSTRAINT `光伏设备_chk_4` CHECK ((`运行状态` in (_utf8mb3'正常',_utf8mb3'故障',_utf8mb3'离线',_utf8mb3'维护中'))) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 光伏预测数据表

CREATE TABLE `光伏预测数据` (   `预测编号` varchar(30) NOT NULL,   `并网点编号` varchar(20) DEFAULT NULL,   `预测日期` date DEFAULT NULL,   `预测时段` varchar(20) DEFAULT NULL,   `预测发电量` decimal(10,2) DEFAULT NULL,   `实际发电量` decimal(10,2) DEFAULT NULL,   `偏差率` decimal(5,2) DEFAULT NULL,   `预测模型版本` varchar(50) DEFAULT NULL,   PRIMARY KEY (`预测编号`),   KEY `并网点编号` (`并网点编号`),   CONSTRAINT `光伏预测数据_ibfk_1` FOREIGN KEY (`并网点编号`) REFERENCES `并网点` (`并网点编号`),   CONSTRAINT `光伏预测数据_chk_1` CHECK ((`预测发电量` >= 0)),   CONSTRAINT `光伏预测数据_chk_2` CHECK ((`实际发电量` >= 0)),   CONSTRAINT `光伏预测数据_chk_3` CHECK ((`偏差率` between -(100) and 100)) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 恢复日志表

CREATE TABLE `恢复日志` (   `恢复ID` varchar(30) NOT NULL,   `恢复时间` datetime NOT NULL,   `备份文件` varchar(255) NOT NULL,   `操作人员` varchar(20) DEFAULT NULL,   `恢复结果` varchar(100) DEFAULT NULL,   `备注` text,   `创建时间` datetime DEFAULT CURRENT_TIMESTAMP,   PRIMARY KEY (`恢复ID`),   KEY `操作人员` (`操作人员`),   CONSTRAINT `恢复日志_ibfk_1` FOREIGN KEY (`操作人员`) REFERENCES `用户` (`用户ID`) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 回路监测数据表

CREATE TABLE `回路监测数据` (   `回路监测数据编号` varchar(30) NOT NULL,   `回路编号` varchar(30) NOT NULL,   `采集时间` datetime NOT NULL,   `电容器温度` decimal(8,2) DEFAULT NULL,   `电压` decimal(10,2) DEFAULT NULL,   `电流` decimal(10,2) DEFAULT NULL,   `电缆头温度` decimal(8,2) DEFAULT NULL,   `有功功率` decimal(10,2) DEFAULT NULL,   `无功功率` decimal(10,2) DEFAULT NULL,   `功率因数` decimal(5,4) DEFAULT NULL,   `正向有功电量` decimal(15,2) DEFAULT NULL,   `反向有功电量` decimal(15,2) DEFAULT NULL,   `开关状态` varchar(10) DEFAULT NULL,   `电压异常标记` tinyint(1) DEFAULT '0',   `温度异常标记` tinyint(1) DEFAULT '0',   `配电房编号` varchar(20) DEFAULT NULL,   `设备编号` varchar(30) DEFAULT NULL,   PRIMARY KEY (`回路监测数据编号`),   KEY `设备编号` (`设备编号`),   KEY `idx_c_cover` (`配电房编号`,`回路编号`,`采集时间`,`电压`,`电流`),   CONSTRAINT `回路监测数据_ibfk_1` FOREIGN KEY (`配电房编号`) REFERENCES `配电房` (`配电房编号`),   CONSTRAINT `回路监测数据_ibfk_2` FOREIGN KEY (`设备编号`) REFERENCES `设备` (`设备编号`),   CONSTRAINT `回路监测数据_chk_9` CHECK ((`开关状态` in (_utf8mb4'合闸',_utf8mb4'分闸'))) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 简单报告表

CREATE TABLE `简单报告` (   `报告ID` varchar(30) NOT NULL,   `报告类型` int NOT NULL COMMENT '1:月度报告 2:季度报告',   `报告内容` text NOT NULL,   `生成时间` datetime NOT NULL,   `生成人ID` varchar(20) NOT NULL,   PRIMARY KEY (`报告ID`),   KEY `生成人ID` (`生成人ID`),   CONSTRAINT `简单报告_ibfk_1` FOREIGN KEY (`生成人ID`) REFERENCES `用户` (`用户ID`) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 历史趋势数据表

CREATE TABLE `历史趋势数据` (   `趋势编号` varchar(30) NOT NULL,   `能源类型` varchar(20) DEFAULT NULL,   `统计周期` varchar(10) DEFAULT NULL,   `统计时间` datetime NOT NULL,   `能耗_发电量数值` decimal(15,2) DEFAULT NULL,   `同比增长率` decimal(8,4) DEFAULT NULL,   `环比增长率` decimal(8,4) DEFAULT NULL,   `配置编号` varchar(30) DEFAULT NULL,   PRIMARY KEY (`趋势编号`),   KEY `配置编号` (`配置编号`),   CONSTRAINT `历史趋势数据_ibfk_1` FOREIGN KEY (`配置编号`) REFERENCES `大屏展示配置` (`配置编号`),   CONSTRAINT `历史趋势数据_chk_1` CHECK ((`能源类型` in (_utf8mb4'电',_utf8mb4'水',_utf8mb4'蒸汽',_utf8mb4'天然气',_utf8mb4'光伏'))),   CONSTRAINT `历史趋势数据_chk_2` CHECK ((`统计周期` in (_utf8mb4'日',_utf8mb4'周',_utf8mb4'月',_utf8mb4'年'))),   CONSTRAINT `历史趋势数据_chk_3` CHECK ((`能耗_发电量数值` >= 0)) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 能耗计量设备表

CREATE TABLE `能耗计量设备` (   `设备编号` varchar(30) NOT NULL,   `能源类型` varchar(20) CHARACTER SET utf8mb3 COLLATE utf8mb3_general_ci NOT NULL,   `管径规格` varchar(20) DEFAULT NULL,   `通讯协议` varchar(50) CHARACTER SET utf8mb3 COLLATE utf8mb3_general_ci DEFAULT NULL,   `运行状态` varchar(20) CHARACTER SET utf8mb3 COLLATE utf8mb3_general_ci DEFAULT NULL,   `校准周期` int DEFAULT NULL,   `生产厂家` varchar(100) CHARACTER SET utf8mb3 COLLATE utf8mb3_general_ci DEFAULT NULL,   PRIMARY KEY (`设备编号`),   KEY `idx_em_energy_device` (`能源类型`,`设备编号`),   CONSTRAINT `能耗计量设备_ibfk_1` FOREIGN KEY (`设备编号`) REFERENCES `设备` (`设备编号`),   CONSTRAINT `能耗计量设备_chk_1` CHECK ((`运行状态` in (_utf8mb3'正常',_utf8mb3'故障',_utf8mb3'离线',_utf8mb3'校准中'))),   CONSTRAINT `能耗计量设备_chk_2` CHECK ((`校准周期` between 1 and 36)) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 能耗监测数据表

CREATE TABLE `能耗监测数据` (   `数据编号` varchar(30) NOT NULL,   `设备编号` varchar(30) DEFAULT NULL,   `采集时间` datetime NOT NULL,   `能耗值` decimal(15,4) DEFAULT NULL,   `单位` varchar(10) DEFAULT NULL,   `数据质量` varchar(10) DEFAULT NULL,   `审核状态` varchar(10) DEFAULT '待复核',   `审核备注` text,   `审核时间` datetime DEFAULT NULL,   `审核人ID` varchar(20) DEFAULT NULL,   PRIMARY KEY (`数据编号`),   KEY `设备编号` (`设备编号`),   CONSTRAINT `能耗监测数据_ibfk_1` FOREIGN KEY (`设备编号`) REFERENCES `能耗计量设备` (`设备编号`),   CONSTRAINT `能耗监测数据_chk_1` CHECK ((`能耗值` >= 0)),   CONSTRAINT `能耗监测数据_chk_2` CHECK ((`数据质量` in (_utf8mb4'优',_utf8mb4'良',_utf8mb4'中',_utf8mb4'差'))),   CONSTRAINT `能耗监测数据_chk_3` CHECK ((`审核状态` in (_utf8mb4'待复核',_utf8mb4'已复核'))) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 能耗优化方案表

CREATE TABLE `能耗优化方案` (   `方案编号` varchar(30) NOT NULL,   `方案名称` varchar(100) CHARACTER SET utf8mb3 COLLATE utf8mb3_general_ci NOT NULL,   `适用厂区编号` varchar(20) DEFAULT NULL,   `能源类型` varchar(20) DEFAULT NULL,   `预期节能` decimal(5,2) DEFAULT NULL,   `实际节能` decimal(5,2) DEFAULT NULL,   `实施周期` int DEFAULT NULL,   `预算费用` decimal(15,2) DEFAULT NULL,   `负责人` varchar(20) DEFAULT NULL,   `优化措施描述` text,   `当前状态` varchar(20) DEFAULT NULL,   `创建时间` datetime DEFAULT CURRENT_TIMESTAMP,   `更新时间` datetime DEFAULT NULL ON UPDATE CURRENT_TIMESTAMP,   PRIMARY KEY (`方案编号`),   KEY `idx_优化方案状态` (`当前状态`),   KEY `idx_优化方案厂区` (`适用厂区编号`),   KEY `idx_创建时间` (`创建时间` DESC),   KEY `fk_能耗优化方案_负责人` (`负责人`),   CONSTRAINT `fk_能耗优化方案_负责人` FOREIGN KEY (`负责人`) REFERENCES `用户` (`用户ID`),   CONSTRAINT `能耗优化方案_ibfk_1` FOREIGN KEY (`适用厂区编号`) REFERENCES `厂区` (`厂区编号`),   CONSTRAINT `能耗优化方案_chk_1` CHECK ((`能源类型` in (_utf8mb4'电',_utf8mb4'水',_utf8mb4'蒸汽',_utf8mb4'天然气'))),   CONSTRAINT `能耗优化方案_chk_2` CHECK (((`预期节能` >= 0) and (`预期节能` <= 100))),   CONSTRAINT `能耗优化方案_chk_3` CHECK (((`实际节能` >= 0) and (`实际节能` <= 100))),   CONSTRAINT `能耗优化方案_chk_4` CHECK ((`实施周期` > 0)),   CONSTRAINT `能耗优化方案_chk_5` CHECK ((`预算费用` >= 0)),   CONSTRAINT `能耗优化方案_chk_6` CHECK ((`当前状态` in (_utf8mb4'已审批',_utf8mb4'执行中',_utf8mb4'已完成',_utf8mb4'已取消'))) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 配电房表

CREATE TABLE `配电房` (   `配电房编号` varchar(20) NOT NULL,   `名称` varchar(100) CHARACTER SET utf8mb3 COLLATE utf8mb3_general_ci NOT NULL,   `位置描述` text,   `电压等级` varchar(20) DEFAULT NULL,   `联系电话` varchar(15) DEFAULT NULL,   `变压器数量` int DEFAULT NULL,   `投运时间` date DEFAULT NULL,   `负责人ID` varchar(20) DEFAULT NULL,   `设备编号` varchar(30) DEFAULT NULL,   `所属厂区编号` varchar(20) DEFAULT NULL,   PRIMARY KEY (`配电房编号`),   KEY `负责人ID` (`负责人ID`),   KEY `设备编号` (`设备编号`),   KEY `配电房_ibfk_3_idx` (`所属厂区编号`),   CONSTRAINT `配电房_ibfk_1` FOREIGN KEY (`负责人ID`) REFERENCES `用户` (`用户ID`),   CONSTRAINT `配电房_ibfk_2` FOREIGN KEY (`设备编号`) REFERENCES `设备` (`设备编号`),   CONSTRAINT `配电房_ibfk_3` FOREIGN KEY (`所属厂区编号`) REFERENCES `厂区` (`厂区编号`),   CONSTRAINT `配电房_chk_1` CHECK ((`电压等级` in (_utf8mb4'35KV',_utf8mb4'0.4KV',_utf8mb4'10KV'))),   CONSTRAINT `配电房_chk_2` CHECK ((`变压器数量` >= 0)) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 设备表

CREATE TABLE `设备` (   `设备编号` varchar(30) NOT NULL,   `设备名称` varchar(100) CHARACTER SET utf8mb3 COLLATE utf8mb3_general_ci NOT NULL,   `设备大类` varchar(20) CHARACTER SET utf8mb3 COLLATE utf8mb3_general_ci DEFAULT NULL,   `设备类型` varchar(20) CHARACTER SET utf8mb3 COLLATE utf8mb3_general_ci DEFAULT NULL,   `所属厂区编号` varchar(20) DEFAULT NULL,   `安装位置描述` text,   `运行状态` varchar(20) DEFAULT NULL,   PRIMARY KEY (`设备编号`),   KEY `所属厂区编号` (`所属厂区编号`),   CONSTRAINT `设备_ibfk_1` FOREIGN KEY (`所属厂区编号`) REFERENCES `厂区` (`厂区编号`),   CONSTRAINT `设备_chk_1` CHECK ((`设备大类` in (_utf8mb4'配电设备',_utf8mb4'光伏设备',_utf8mb4'能耗设备',_utf8mb4'其他'))),   CONSTRAINT `设备_chk_2` CHECK ((`运行状态` in (_utf8mb4'正常',_utf8mb4'故障',_utf8mb4'离线',_utf8mb4'维护中',_utf8mb4'停用'))) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 设备台账表

CREATE TABLE `设备台账` (   `台账编号` varchar(30) NOT NULL,   `设备编号` varchar(30) DEFAULT NULL,   `型号规格` varchar(50) DEFAULT NULL,   `安装时间` date DEFAULT NULL,   `质保期` int DEFAULT NULL,   `维修记录` text,   `校准记录` text,   `报废状态` varchar(20) DEFAULT NULL,   `报废时间` date DEFAULT NULL,   `报废原因` text,   PRIMARY KEY (`台账编号`),   UNIQUE KEY `设备编号` (`设备编号`),   CONSTRAINT `设备台账_ibfk_1` FOREIGN KEY (`设备编号`) REFERENCES `设备` (`设备编号`),   CONSTRAINT `设备台账_chk_1` CHECK ((`质保期` between 0 and 20)),   CONSTRAINT `设备台账_chk_2` CHECK ((`报废状态` in (_utf8mb4'正常使用',_utf8mb4'已报废'))) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 实时汇总数据表

CREATE TABLE `实时汇总数据` (   `汇总编号` varchar(30) NOT NULL,   `统计时间` datetime NOT NULL,   `总用电量` decimal(15,2) DEFAULT NULL,   `总用水量` decimal(15,2) DEFAULT NULL,   `总蒸汽消耗量` decimal(15,2) DEFAULT NULL,   `总天然气消耗量` decimal(15,2) DEFAULT NULL,   `光伏总发电量` decimal(15,2) DEFAULT NULL,   `光伏自用电量` decimal(15,2) DEFAULT NULL,   `总告警次数` int DEFAULT NULL,   `高等级告警数` int DEFAULT NULL,   `中等级告警数` int DEFAULT NULL,   `低等级告警数` int DEFAULT NULL,   `配置编号` varchar(30) DEFAULT NULL,   `自用电价` double DEFAULT NULL COMMENT '元/kWh，采集时的电价',   `上网电价` double DEFAULT NULL COMMENT '元/kWh，采集时的电价',   PRIMARY KEY (`汇总编号`),   KEY `配置编号` (`配置编号`),   CONSTRAINT `实时汇总数据_ibfk_1` FOREIGN KEY (`配置编号`) REFERENCES `大屏展示配置` (`配置编号`),   CONSTRAINT `实时汇总数据_chk_1` CHECK ((`总用电量` >= 0)),   CONSTRAINT `实时汇总数据_chk_10` CHECK ((`低等级告警数` >= 0)),   CONSTRAINT `实时汇总数据_chk_2` CHECK ((`总用水量` >= 0)),   CONSTRAINT `实时汇总数据_chk_3` CHECK ((`总蒸汽消耗量` >= 0)),   CONSTRAINT `实时汇总数据_chk_4` CHECK ((`总天然气消耗量` >= 0)),   CONSTRAINT `实时汇总数据_chk_5` CHECK ((`光伏总发电量` >= 0)),   CONSTRAINT `实时汇总数据_chk_6` CHECK ((`光伏自用电量` >= 0)),   CONSTRAINT `实时汇总数据_chk_7` CHECK ((`总告警次数` >= 0)),   CONSTRAINT `实时汇总数据_chk_8` CHECK ((`高等级告警数` >= 0)),   CONSTRAINT `实时汇总数据_chk_9` CHECK ((`中等级告警数` >= 0)) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 屋顶区域表

CREATE TABLE `屋顶区域` (   `区域编号` varchar(20) NOT NULL,   `区域名称` varchar(100) CHARACTER SET utf8mb3 COLLATE utf8mb3_general_ci NOT NULL,   `屋顶材质` varchar(50) CHARACTER SET utf8mb3 COLLATE utf8mb3_general_ci DEFAULT NULL,   `可用面积` decimal(10,2) DEFAULT NULL,   `已安装容量` decimal(10,2) DEFAULT NULL,   `最大可装机容量` decimal(10,2) DEFAULT NULL,   `所属建筑编号` varchar(30) DEFAULT NULL,   `所属厂区编号` varchar(20) DEFAULT NULL,   PRIMARY KEY (`区域编号`),   KEY `所属厂区编号` (`所属厂区编号`),   CONSTRAINT `屋顶区域_ibfk_1` FOREIGN KEY (`所属厂区编号`) REFERENCES `厂区` (`厂区编号`),   CONSTRAINT `chk_容量` CHECK ((`已安装容量` <= `最大可装机容量`)),   CONSTRAINT `屋顶区域_chk_1` CHECK ((`可用面积` > 0)),   CONSTRAINT `屋顶区域_chk_2` CHECK ((`已安装容量` >= 0)),   CONSTRAINT `屋顶区域_chk_3` CHECK ((`最大可装机容量` >= 0)) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 用户表

CREATE TABLE `用户` (   `用户ID` varchar(20) NOT NULL,   `登录账号` varchar(50) NOT NULL,   `密码哈希值` varchar(255) NOT NULL,   `真实姓名` varchar(50) CHARACTER SET utf8mb3 COLLATE utf8mb3_general_ci NOT NULL,   `用户角色` varchar(20) CHARACTER SET utf8mb3 COLLATE utf8mb3_general_ci NOT NULL,   `手机号码` varchar(15) DEFAULT NULL,   `上次登录的时间` datetime DEFAULT NULL,   `登录失败的次数` int DEFAULT '0',   `负责的厂区编号` varchar(20) DEFAULT NULL,   `密码` varchar(30) DEFAULT NULL,   PRIMARY KEY (`用户ID`),   UNIQUE KEY `登录账号` (`登录账号`),   KEY `负责的厂区编号` (`负责的厂区编号`),   CONSTRAINT `用户_ibfk_1` FOREIGN KEY (`负责的厂区编号`) REFERENCES `厂区` (`厂区编号`),   CONSTRAINT `用户_chk_1` CHECK ((`用户角色` in (_utf8mb4'能源管理员',_utf8mb4'运维人员',_utf8mb4'数据分析师',_utf8mb4'系统管理员',_utf8mb4'企业管理层',_utf8mb4'运维工单管理员'))),   CONSTRAINT `用户_chk_2` CHECK ((`登录失败的次数` between 0 and 4)) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci

- 运维工单表

CREATE TABLE `运维工单` (   `工单ID` varchar(30) NOT NULL,   `工单编号` varchar(30) DEFAULT NULL,   `告警ID` varchar(30) DEFAULT NULL,   `运维人员ID` varchar(20) DEFAULT NULL,   `派单时间` datetime NOT NULL,   `响应时间` datetime DEFAULT NULL,   `处理完成时间` datetime DEFAULT NULL,   `处理结果` text,   `复查状态` varchar(10) DEFAULT NULL,   `附件路径` text,   `处理耗时` int DEFAULT NULL,   `处理备注` text,   PRIMARY KEY (`工单ID`),   UNIQUE KEY `工单编号` (`工单编号`),   KEY `告警ID` (`告警ID`),   KEY `运维人员ID` (`运维人员ID`),   CONSTRAINT `运维工单_ibfk_1` FOREIGN KEY (`告警ID`) REFERENCES `告警信息` (`告警ID`),   CONSTRAINT `运维工单_ibfk_2` FOREIGN KEY (`运维人员ID`) REFERENCES `用户` (`用户ID`),   CONSTRAINT `运维工单_chk_1` CHECK ((`复查状态` in (_utf8mb4'通过',_utf8mb4'未通过'))),   CONSTRAINT `运维工单_chk_2` CHECK ((`处理耗时` >= 0)) ) ENGINE=InnoDB DEFAULT CHARSET=utf8mb4 COLLATE=utf8mb4_0900_ai_ci