存储过程：

DROP PROCEDURE IF EXISTS `insert_alarm_info`;

DELIMITER $$

CREATE PROCEDURE `insert_alarm_info`(

IN p_device_id VARCHAR(30),

IN p_alarm_type VARCHAR(20),

IN p_alarm_level VARCHAR(10),

IN p_alarm_content TEXT,

IN p_alarm_threshold DECIMAL(12,4),

IN p_alarm_param VARCHAR(50),

IN p_rule_id VARCHAR(30)

)

BEGIN

DECLARE new_alarm_id VARCHAR(30);

DECLARE new_alarm_no VARCHAR(30);

DECLARE v_alarm_number INT DEFAULT 1;

DECLARE today_alarm_count INT DEFAULT 0;

-- 获取今天的告警数量

SELECT COUNT(*) INTO today_alarm_count

FROM `告警信息`

WHERE DATE(`发生时间`) = CURDATE();

IF today_alarm_count > 0 THEN

SET v_alarm_number = today_alarm_count + 1;

END IF;

-- 生成告警ID和编号

SET new_alarm_id = CONCAT('ALM', DATE_FORMAT(NOW(), '%Y%m%d%H%i%s'), LPAD(FLOOR(RAND()*1000), 3, '0'));

SET new_alarm_no = CONCAT('AL', DATE_FORMAT(NOW(), '%Y%m%d'), LPAD(v_alarm_number, 4, '0'));

-- 插入告警信息表

INSERT INTO `告警信息` (

`告警ID`,

`告警编号`,

`告警类型`,

`关联设备编号`,

`发生时间`,

`告警等级`,

`告警内容`,

`处理状态`,

`告警触发阈值`

) VALUES (

new_alarm_id,

new_alarm_no,

p_alarm_type,

p_device_id,

NOW(),

p_alarm_level,

CONCAT(p_alarm_content, ' [规则:', p_rule_id, ']'),

'未处理',

p_alarm_threshold

);

END$$

DELIMITER ;

变压器监测数据表触发器：

DROP TRIGGER IF EXISTS `trg_auto_generate_alarm_on_transformer_data`;

DELIMITER $$

CREATE TRIGGER `trg_auto_generate_alarm_on_transformer_data`

AFTER INSERT ON `变压器监测数据`

FOR EACH ROW

BEGIN

DECLARE done INT DEFAULT FALSE;

DECLARE v_rule_id VARCHAR(30);

DECLARE v_rule_name VARCHAR(100);

DECLARE v_alarm_param VARCHAR(50);

DECLARE v_alarm_condition VARCHAR(10);

DECLARE v_alarm_threshold DECIMAL(12,4);

DECLARE v_alarm_level VARCHAR(10);

DECLARE v_alarm_content TEXT;

DECLARE v_device_no VARCHAR(30);

-- 必须在所有其他语句之前声明游标和处理器

DECLARE rule_cursor CURSOR FOR

SELECT `规则ID`, `规则名称`, `告警参数`, `告警条件`, `告警阈值`, `告警等级`

FROM `告警规则`

WHERE `设备类型` = '变压器'

AND `启用状态` = 1;

DECLARE CONTINUE HANDLER FOR NOT FOUND SET done = TRUE;

-- 获取变压器设备编号（从设备表查找）

SELECT `设备编号` INTO v_device_no

FROM `设备`

WHERE (`设备类型` = '变压器' OR `设备大类` = '配电设备')

AND (`设备编号` LIKE CONCAT('%', NEW.`变压器编号`, '%') OR `设备名称` LIKE CONCAT('%变压器%'))

LIMIT 1;

IF v_device_no IS NULL THEN

SET v_device_no = NEW.`变压器编号`;

END IF;

OPEN rule_cursor;

rule_loop: LOOP

FETCH rule_cursor INTO v_rule_id, v_rule_name, v_alarm_param, v_alarm_condition, v_alarm_threshold, v_alarm_level;

IF done THEN

LEAVE rule_loop;

END IF;

-- 根据告警参数和条件进行检查

IF v_alarm_param = '负载率' AND v_alarm_condition = '>' AND NEW.`负载率` > v_alarm_threshold THEN

SET v_alarm_content = CONCAT('变压器 ', NEW.`变压器编号`, ' 负载率超过阈值 ', v_alarm_threshold, '%，当前值 ', NEW.`负载率`, '%');

CALL insert_alarm_info(v_device_no, '越限告警', v_alarm_level, v_alarm_content, v_alarm_threshold, v_alarm_param, v_rule_id);

ELSEIF v_alarm_param = '负载率' AND v_alarm_condition = '<' AND NEW.`负载率` < v_alarm_threshold THEN

SET v_alarm_content = CONCAT('变压器 ', NEW.`变压器编号`, ' 负载率低于阈值 ', v_alarm_threshold, '%，当前值 ', NEW.`负载率`, '%');

CALL insert_alarm_info(v_device_no, '越限告警', v_alarm_level, v_alarm_content, v_alarm_threshold, v_alarm_param, v_rule_id);

ELSEIF v_alarm_param = '绕组温度' AND v_alarm_condition = '>' AND NEW.`绕组温度` > v_alarm_threshold THEN

SET v_alarm_content = CONCAT('变压器 ', NEW.`变压器编号`, ' 绕组温度超过阈值 ', v_alarm_threshold, '℃，当前值 ', NEW.`绕组温度`, '℃');

CALL insert_alarm_info(v_device_no, '越限告警', v_alarm_level, v_alarm_content, v_alarm_threshold, v_alarm_param, v_rule_id);

ELSEIF v_alarm_param = '铁芯温度' AND v_alarm_condition = '>' AND NEW.`铁芯温度` > v_alarm_threshold THEN

SET v_alarm_content = CONCAT('变压器 ', NEW.`变压器编号`, ' 铁芯温度超过阈值 ', v_alarm_threshold, '℃，当前值 ', NEW.`铁芯温度`, '℃');

CALL insert_alarm_info(v_device_no, '越限告警', v_alarm_level, v_alarm_content, v_alarm_threshold, v_alarm_param, v_rule_id);

ELSEIF v_alarm_param = '运行状态' AND v_alarm_condition = '=' AND NEW.`运行状态` = '异常' THEN

SET v_alarm_content = CONCAT('变压器 ', NEW.`变压器编号`, ' 运行状态异常');

CALL insert_alarm_info(v_device_no, '设备故障', v_alarm_level, v_alarm_content, NULL, v_alarm_param, v_rule_id);

ELSEIF v_alarm_param = '环境温度' AND v_alarm_condition = '>' AND NEW.`环境温度` > v_alarm_threshold THEN

SET v_alarm_content = CONCAT('变压器 ', NEW.`变压器编号`, ' 环境温度超过阈值 ', v_alarm_threshold, '℃，当前值 ', NEW.`环境温度`, '℃');

CALL insert_alarm_info(v_device_no, '越限告警', v_alarm_level, v_alarm_content, v_alarm_threshold, v_alarm_param, v_rule_id);

ELSEIF v_alarm_param = '环境湿度' AND v_alarm_condition = '>' AND NEW.`环境湿度` > v_alarm_threshold THEN

SET v_alarm_content = CONCAT('变压器 ', NEW.`变压器编号`, ' 环境湿度超过阈值 ', v_alarm_threshold, '%，当前值 ', NEW.`环境湿度`, '%');

CALL insert_alarm_info(v_device_no, '越限告警', v_alarm_level, v_alarm_content, v_alarm_threshold, v_alarm_param, v_rule_id);

END IF;

END LOOP;

CLOSE rule_cursor;

END$$

DELIMITER ;

回路监测数据表触发器：

DROP TRIGGER IF EXISTS `trg_auto_generate_alarm_on_circuit_data`;

DELIMITER $$

CREATE TRIGGER `trg_auto_generate_alarm_on_circuit_data`

AFTER INSERT ON `回路监测数据`

FOR EACH ROW

BEGIN

DECLARE done INT DEFAULT FALSE;

DECLARE v_rule_id VARCHAR(30);

DECLARE v_rule_name VARCHAR(100);

DECLARE v_alarm_param VARCHAR(50);

DECLARE v_alarm_condition VARCHAR(10);

DECLARE v_alarm_threshold DECIMAL(12,4);

DECLARE v_alarm_level VARCHAR(10);

DECLARE v_alarm_content TEXT;

DECLARE v_prev_switch_status VARCHAR(10);

-- 必须在所有其他语句之前声明游标和处理器

DECLARE rule_cursor CURSOR FOR

SELECT `规则ID`, `规则名称`, `告警参数`, `告警条件`, `告警阈值`, `告警等级`

FROM `告警规则`

WHERE `设备类型` = '电力回路'

AND `启用状态` = 1;

DECLARE CONTINUE HANDLER FOR NOT FOUND SET done = TRUE;

OPEN rule_cursor;

rule_loop: LOOP

FETCH rule_cursor INTO v_rule_id, v_rule_name, v_alarm_param, v_alarm_condition, v_alarm_threshold, v_alarm_level;

IF done THEN

LEAVE rule_loop;

END IF;

-- 根据告警参数和条件进行检查

IF v_alarm_param = '电压' AND v_alarm_condition = '>' AND NEW.`电压` > v_alarm_threshold THEN

SET v_alarm_content = CONCAT('回路 ', NEW.`回路编号`, ' 电压超过阈值 ', v_alarm_threshold, ' kV，当前值 ', NEW.`电压`, ' kV');

CALL insert_alarm_info(NEW.`设备编号`, '越限告警', v_alarm_level, v_alarm_content, v_alarm_threshold, v_alarm_param, v_rule_id);

ELSEIF v_alarm_param = '电压' AND v_alarm_condition = '<' AND NEW.`电压` < v_alarm_threshold THEN

SET v_alarm_content = CONCAT('回路 ', NEW.`回路编号`, ' 电压低于阈值 ', v_alarm_threshold, ' kV，当前值 ', NEW.`电压`, ' kV');

CALL insert_alarm_info(NEW.`设备编号`, '越限告警', v_alarm_level, v_alarm_content, v_alarm_threshold, v_alarm_param, v_rule_id);

ELSEIF v_alarm_param = '电流' AND v_alarm_condition = '>' AND NEW.`电流` > v_alarm_threshold THEN

SET v_alarm_content = CONCAT('回路 ', NEW.`回路编号`, ' 电流超过阈值 ', v_alarm_threshold, ' A，当前值 ', NEW.`电流`, ' A');

CALL insert_alarm_info(NEW.`设备编号`, '越限告警', v_alarm_level, v_alarm_content, v_alarm_threshold, v_alarm_param, v_rule_id);

ELSEIF v_alarm_param = '电缆头温度' AND v_alarm_condition = '>' AND NEW.`电缆头温度` > v_alarm_threshold THEN

SET v_alarm_content = CONCAT('回路 ', NEW.`回路编号`, ' 电缆头温度超过阈值 ', v_alarm_threshold, ' ℃，当前值 ', NEW.`电缆头温度`, ' ℃');

CALL insert_alarm_info(NEW.`设备编号`, '越限告警', v_alarm_level, v_alarm_content, v_alarm_threshold, v_alarm_param, v_rule_id);

ELSEIF v_alarm_param = '电容器温度' AND v_alarm_condition = '>' AND NEW.`电容器温度` > v_alarm_threshold THEN

SET v_alarm_content = CONCAT('回路 ', NEW.`回路编号`, ' 电容器温度超过阈值 ', v_alarm_threshold, ' ℃，当前值 ', NEW.`电容器温度`, ' ℃');

CALL insert_alarm_info(NEW.`设备编号`, '越限告警', v_alarm_level, v_alarm_content, v_alarm_threshold, v_alarm_param, v_rule_id);

ELSEIF v_alarm_param = '功率因数' AND v_alarm_condition = '<' AND NEW.`功率因数` < v_alarm_threshold THEN

SET v_alarm_content = CONCAT('回路 ', NEW.`回路编号`, ' 功率因数低于阈值 ', v_alarm_threshold, '，当前值 ', NEW.`功率因数`);

CALL insert_alarm_info(NEW.`设备编号`, '越限告警', v_alarm_level, v_alarm_content, v_alarm_threshold, v_alarm_param, v_rule_id);

ELSEIF v_alarm_param = '开关状态' AND v_alarm_condition = '异常变化' THEN

-- 获取上一次的开关状态

SELECT `开关状态` INTO v_prev_switch_status

FROM `回路监测数据`

WHERE `回路编号` = NEW.`回路编号`

AND `采集时间` < NEW.`采集时间`

ORDER BY `采集时间` DESC

LIMIT 1;

-- 如果开关状态发生变化（从合闸变为分闸或从分闸变为合闸）

IF v_prev_switch_status IS NOT NULL AND v_prev_switch_status != NEW.`开关状态` THEN

SET v_alarm_content = CONCAT('回路 ', NEW.`回路编号`, ' 开关状态从 ', v_prev_switch_status, ' 变为 ', NEW.`开关状态`);

CALL insert_alarm_info(NEW.`设备编号`, '设备故障', v_alarm_level, v_alarm_content, NULL, v_alarm_param, v_rule_id);

END IF;

END IF;

END LOOP;

CLOSE rule_cursor;

END$$

DELIMITER ;

光伏发电数据表触发器：

DROP TRIGGER IF EXISTS `trg_auto_generate_alarm_on_pv_data`;

DELIMITER $$

CREATE TRIGGER `trg_auto_generate_alarm_on_pv_data`

AFTER INSERT ON `光伏发电数据`

FOR EACH ROW

BEGIN

DECLARE done INT DEFAULT FALSE;

DECLARE v_rule_id VARCHAR(30);

DECLARE v_rule_name VARCHAR(100);

DECLARE v_alarm_param VARCHAR(50);

DECLARE v_alarm_condition VARCHAR(10);

DECLARE v_alarm_threshold DECIMAL(12,4);

DECLARE v_alarm_level VARCHAR(10);

DECLARE v_alarm_content TEXT;

DECLARE v_device_type VARCHAR(20);

DECLARE v_prev_generation DECIMAL(10,2);

DECLARE v_drop_rate DECIMAL(5,2);

-- 必须在所有其他语句之前声明游标和处理器

DECLARE rule_cursor CURSOR FOR

SELECT `规则ID`, `规则名称`, `告警参数`, `告警条件`, `告警阈值`, `告警等级`

FROM `告警规则`

WHERE `设备类型` IN ('光伏逆变器', '光伏组串')

AND `启用状态` = 1;

DECLARE CONTINUE HANDLER FOR NOT FOUND SET done = TRUE;

-- 获取设备类型（逆变器或汇流箱）

SELECT `设备类型` INTO v_device_type

FROM `光伏设备`

WHERE `设备编号` = NEW.`设备编号`;

OPEN rule_cursor;

rule_loop: LOOP

FETCH rule_cursor INTO v_rule_id, v_rule_name, v_alarm_param, v_alarm_condition, v_alarm_threshold, v_alarm_level;

IF done THEN

LEAVE rule_loop;

END IF;

-- 检查设备类型是否匹配规则

IF NOT (

(v_device_type = '逆变器' AND v_rule_id IN ('RULE011', 'RULE014')) OR

(v_device_type = '汇流箱' AND v_rule_id IN ('RULE012', 'RULE013'))

) THEN

ITERATE rule_loop;

END IF;

-- 根据告警参数和条件进行检查

IF v_alarm_param = '逆变器效率' AND v_alarm_condition = '<' AND NEW.`逆变器效率` < v_alarm_threshold THEN

SET v_alarm_content = CONCAT('光伏设备 ', NEW.`设备编号`, ' 逆变器效率低于阈值 ', v_alarm_threshold, '%，当前值 ', NEW.`逆变器效率`, '%');

CALL insert_alarm_info(NEW.`设备编号`, '设备故障', v_alarm_level, v_alarm_content, v_alarm_threshold, v_alarm_param, v_rule_id);

ELSEIF v_alarm_param = '组串电压' AND v_alarm_condition = '<' AND NEW.`组串电压` < v_alarm_threshold THEN

SET v_alarm_content = CONCAT('光伏设备 ', NEW.`设备编号`, ' 组串电压低于阈值 ', v_alarm_threshold, ' V，当前值 ', NEW.`组串电压`, ' V');

CALL insert_alarm_info(NEW.`设备编号`, '设备故障', v_alarm_level, v_alarm_content, v_alarm_threshold, v_alarm_param, v_rule_id);

ELSEIF v_alarm_param = '组串电流' AND v_alarm_condition = '>' AND NEW.`组串电流` > v_alarm_threshold THEN

SET v_alarm_content = CONCAT('光伏设备 ', NEW.`设备编号`, ' 组串电流超过阈值 ', v_alarm_threshold, ' A，当前值 ', NEW.`组串电流`, ' A');

CALL insert_alarm_info(NEW.`设备编号`, '越限告警', v_alarm_level, v_alarm_content, v_alarm_threshold, v_alarm_param, v_rule_id);

ELSEIF v_alarm_param = '发电量' AND v_alarm_condition = '下降率>' THEN

-- 获取前一小时的发电量

SELECT `发电量` INTO v_prev_generation

FROM `光伏发电数据`

WHERE `设备编号` = NEW.`设备编号`

AND `采集时间` < NEW.`采集时间`

AND `采集时间` >= DATE_SUB(NEW.`采集时间`, INTERVAL 1 HOUR)

ORDER BY `采集时间` DESC

LIMIT 1;

-- 计算下降率

IF v_prev_generation IS NOT NULL AND v_prev_generation > 0 THEN

SET v_drop_rate = ((v_prev_generation - NEW.`发电量`) / v_prev_generation) * 100;

IF v_drop_rate > v_alarm_threshold THEN

SET v_alarm_content = CONCAT('光伏设备 ', NEW.`设备编号`, ' 发电量下降率超过阈值 ', v_alarm_threshold, '%，当前下降率 ', v_drop_rate, '%');

CALL insert_alarm_info(NEW.`设备编号`, '设备故障', v_alarm_level, v_alarm_content, v_alarm_threshold, v_alarm_param, v_rule_id);

END IF;

END IF;

ELSEIF v_alarm_param = '数据质量' AND v_alarm_condition = '=' AND NEW.`数据质量` IN ('中', '差') THEN

SET v_alarm_content = CONCAT('光伏设备 ', NEW.`设备编号`, ' 数据质量较差：', NEW.`数据质量`);

CALL insert_alarm_info(NEW.`设备编号`, '通讯故障', v_alarm_level, v_alarm_content, NULL, v_alarm_param, v_rule_id);

END IF;

END LOOP;

CLOSE rule_cursor;

END$$

DELIMITER ;

能耗监测数据表触发器：

DROP TRIGGER IF EXISTS `trg_auto_generate_alarm_on_energy_data`;

DELIMITER $$

CREATE TRIGGER `trg_auto_generate_alarm_on_energy_data`

AFTER INSERT ON `能耗监测数据`

FOR EACH ROW

BEGIN

DECLARE done INT DEFAULT FALSE;

DECLARE v_rule_id VARCHAR(30);

DECLARE v_rule_name VARCHAR(100);

DECLARE v_alarm_param VARCHAR(50);

DECLARE v_alarm_condition VARCHAR(10);

DECLARE v_alarm_threshold DECIMAL(12,4);

DECLARE v_alarm_level VARCHAR(10);

DECLARE v_alarm_content TEXT;

DECLARE v_energy_type VARCHAR(20);

DECLARE v_prev_energy DECIMAL(15,4);

DECLARE v_increase_rate DECIMAL(5,2);

-- 必须在所有其他语句之前声明游标和处理器

DECLARE rule_cursor CURSOR FOR

SELECT `规则ID`, `规则名称`, `告警参数`, `告警条件`, `告警阈值`, `告警等级`

FROM `告警规则`

WHERE `设备类型` = '能耗计量设备'

AND `启用状态` = 1;

DECLARE CONTINUE HANDLER FOR NOT FOUND SET done = TRUE;

-- 获取能源类型

SELECT `能源类型` INTO v_energy_type

FROM `能耗计量设备`

WHERE `设备编号` = NEW.`设备编号`;

OPEN rule_cursor;

rule_loop: LOOP

FETCH rule_cursor INTO v_rule_id, v_rule_name, v_alarm_param, v_alarm_condition, v_alarm_threshold, v_alarm_level;

IF done THEN

LEAVE rule_loop;

END IF;

-- 根据告警参数和条件进行检查

IF v_alarm_param = '能耗值' AND v_alarm_condition = '突增>' THEN

-- 获取前一小时的能耗值

SELECT `能耗值` INTO v_prev_energy

FROM `能耗监测数据`

WHERE `设备编号` = NEW.`设备编号`

AND `采集时间` < NEW.`采集时间`

AND `采集时间` >= DATE_SUB(NEW.`采集时间`, INTERVAL 1 HOUR)

ORDER BY `采集时间` DESC

LIMIT 1;

-- 计算增长率

IF v_prev_energy IS NOT NULL AND v_prev_energy > 0 THEN

SET v_increase_rate = ((NEW.`能耗值` - v_prev_energy) / v_prev_energy) * 100;

IF v_increase_rate > v_alarm_threshold THEN

SET v_alarm_content = CONCAT('能耗设备 ', NEW.`设备编号`, ' 能耗值突增率超过阈值 ', v_alarm_threshold, '%，当前突增率 ', v_increase_rate, '%');

CALL insert_alarm_info(NEW.`设备编号`, '越限告警', v_alarm_level, v_alarm_content, v_alarm_threshold, v_alarm_param, v_rule_id);

END IF;

END IF;

ELSEIF v_alarm_param = '数据质量' AND v_alarm_condition = '=' AND NEW.`数据质量` = '差' THEN

SET v_alarm_content = CONCAT('能耗设备 ', NEW.`设备编号`, ' 数据质量差');

CALL insert_alarm_info(NEW.`设备编号`, '通讯故障', v_alarm_level, v_alarm_content, NULL, v_alarm_param, v_rule_id);

ELSEIF v_alarm_param = '能耗值' AND (v_alarm_condition = '>' OR v_alarm_condition = '<') THEN

-- 通用的能耗值越限告警

IF (v_alarm_condition = '>' AND NEW.`能耗值` > v_alarm_threshold) OR

(v_alarm_condition = '<' AND NEW.`能耗值` < v_alarm_threshold) THEN

SET v_alarm_content = CONCAT('能耗设备 ', NEW.`设备编号`, ' 能耗值',

CASE WHEN v_alarm_condition = '>' THEN '超过' ELSE '低于' END,

'阈值 ', v_alarm_threshold, ' ', NEW.`单位`, '，当前值 ', NEW.`能耗值`, ' ', NEW.`单位`);

CALL insert_alarm_info(NEW.`设备编号`, '越限告警', v_alarm_level, v_alarm_content, v_alarm_threshold, v_alarm_param, v_rule_id);

END IF;

END IF;

END LOOP;

CLOSE rule_cursor;

END$$

DELIMITER ;

索引：

-- 1. 告警信息表：复合索引，优化按告警等级、处理状态和时间范围的查询

CREATE INDEX `idx_alarm_level_status_time` ON `告警信息`(`告警等级`, `处理状态`, `发生时间` DESC);

-- 2. 告警信息表：复合索引，优化按设备编号和告警类型的查询

CREATE INDEX `idx_alarm_device_type` ON `告警信息`(`关联设备编号`, `告警类型`, `发生时间` DESC);

-- 3. 运维工单表：复合索引，优化按运维人员和工单状态的查询

CREATE INDEX `idx_workorder_worker_status` ON `运维工单`(`运维人员ID`, `复查状态`, `派单时间` DESC);

-- 4. 设备台账表：复合索引，优化按设备状态和质保期的查询

CREATE INDEX `idx_equipment_status_warranty` ON `设备台账`(`报废状态`, `质保期`, `安装时间` DESC);

未处理告警统计视图：

CREATE OR REPLACE VIEW `vw_unprocessed_alarm_summary` AS

SELECT

a.`告警ID`,

a.`告警编号`,

a.`告警类型`,

a.`告警等级`,

a.`发生时间`,

a.`告警内容`,

a.`关联设备编号`,

d.`设备名称`,

d.`设备类型`,

d.`所属厂区编号`,

c.`厂区名称`,

TIMESTAMPDIFF(MINUTE, a.`发生时间`, NOW()) AS `告警持续时间(分钟)`,

CASE

WHEN TIMESTAMPDIFF(MINUTE, a.`发生时间`, NOW()) > 60 THEN '超时未处理'

WHEN TIMESTAMPDIFF(MINUTE, a.`发生时间`, NOW()) > 30 THEN '处理中'

ELSE '新告警'

END AS `告警状态`

FROM `告警信息` a

LEFT JOIN `设备` d ON a.`关联设备编号` = d.`设备编号`

LEFT JOIN `厂区` c ON d.`所属厂区编号` = c.`厂区编号`

WHERE a.`处理状态` = '未处理'

ORDER BY

CASE a.`告警等级`

WHEN '高' THEN 1

WHEN '中' THEN 2

WHEN '低' THEN 3

END,

a.`发生时间` DESC;

运维工单执行效率视图：

CREATE OR REPLACE VIEW `vw_workorder_efficiency` AS

SELECT

w.`工单ID`,

w.`工单编号`,

a.`告警编号`,

a.`告警等级`,

a.`告警类型`,

w.`运维人员ID`,

u.`真实姓名` AS `运维人员姓名`,

w.`派单时间`,

w.`响应时间`,

w.`处理完成时间`,

w.`处理耗时`,

w.`复查状态`,

w.`处理结果`,

d.`设备名称`,

d.`设备类型`,

c.`厂区名称`,

-- 计算响应时间（分钟）

TIMESTAMPDIFF(MINUTE, w.`派单时间`, w.`响应时间`) AS `响应时长(分钟)`,

-- 计算处理时间（分钟）

TIMESTAMPDIFF(MINUTE, w.`响应时间`, w.`处理完成时间`) AS `处理时长(分钟)`,

-- 总处理时间（分钟）

TIMESTAMPDIFF(MINUTE, w.`派单时间`, w.`处理完成时间`) AS `总处理时长(分钟)`,

-- 效率评级

CASE

WHEN TIMESTAMPDIFF(MINUTE, w.`派单时间`, w.`响应时间`) <= 15 AND w.`复查状态` = '通过' THEN '优秀'

WHEN TIMESTAMPDIFF(MINUTE, w.`派单时间`, w.`响应时间`) <= 30 AND w.`复查状态` = '通过' THEN '良好'

WHEN TIMESTAMPDIFF(MINUTE, w.`派单时间`, w.`响应时间`) <= 60 AND w.`复查状态` = '通过' THEN '合格'

WHEN w.`复查状态` = '未通过' THEN '需返工'

ELSE '待评估'

END AS `效率评级`

FROM `运维工单` w

LEFT JOIN `告警信息` a ON w.`告警ID` = a.`告警ID`

LEFT JOIN `用户` u ON w.`运维人员ID` = u.`用户ID`

LEFT JOIN `设备` d ON a.`关联设备编号` = d.`设备编号`

LEFT JOIN `厂区` c ON d.`所属厂区编号` = c.`厂区编号`

WHERE w.`处理完成时间` IS NOT NULL

ORDER BY w.`派单时间` DESC;

设备全生命周期管理视图：

CREATE OR REPLACE VIEW `vw_equipment_lifecycle` AS

SELECT

e.`设备编号`,

e.`设备名称`,

e.`设备类型`,

e.`设备大类`,

e.`运行状态`,

c.`厂区名称`,

e.`安装位置描述`,

-- 台账信息

t.`台账编号`,

t.`型号规格`,

t.`安装时间`,

t.`质保期`,

t.`报废状态`,

t.`报废时间`,

t.`报废原因`,

-- 质保状态

CASE

WHEN t.`质保期` IS NULL THEN '未知'

WHEN t.`报废状态` = '已报废' THEN '已报废'

WHEN DATE_ADD(t.`安装时间`, INTERVAL t.`质保期` YEAR) < CURDATE() THEN '已过保'

WHEN DATE_ADD(t.`安装时间`, INTERVAL t.`质保期` - 1 YEAR) < CURDATE() THEN '即将过保'

ELSE '在保'

END AS `质保状态`,

-- 质保到期日

DATE_ADD(t.`安装时间`, INTERVAL t.`质保期` YEAR) AS `质保到期日`,

-- 告警统计

(SELECT COUNT(*) FROM `告警信息` a WHERE a.`关联设备编号` = e.`设备编号` AND a.`处理状态` = '已结案') AS `历史告警数`,

(SELECT COUNT(*) FROM `告警信息` a WHERE a.`关联设备编号` = e.`设备编号` AND a.`处理状态` = '未处理') AS `未处理告警数`,

-- 维修统计

(SELECT COUNT(*) FROM `运维工单` w

JOIN `告警信息` a ON w.`告警ID` = a.`告警ID`

WHERE a.`关联设备编号` = e.`设备编号`) AS `维修次数`,

-- 最近维修时间

(SELECT MAX(w.`处理完成时间`) FROM `运维工单` w

JOIN `告警信息` a ON w.`告警ID` = a.`告警ID`

WHERE a.`关联设备编号` = e.`设备编号`) AS `最近维修时间`,

-- 设备年龄（年）

TIMESTAMPDIFF(YEAR, t.`安装时间`, CURDATE()) AS `设备年龄(年)`

FROM `设备` e

LEFT JOIN `设备台账` t ON e.`设备编号` = t.`设备编号`

LEFT JOIN `厂区` c ON e.`所属厂区编号` = c.`厂区编号`

WHERE e.`设备编号` IS NOT NULL

ORDER BY e.`设备类型`, t.`安装时间` DESC;